**License to store liquefied petroleum gas of quantity exceeding to 100 liters for self use in industries and other places**

1. An applicant will submit following documents to the concerned regional office of Department of Explosives:-
* Land ownership documents
* Owner CNIC copy
* Copy of SECP Registratioj Certificate
* Copy of Memorandum of Article and Association
* Company profile
* NTN
1. On receipt of particulars as mentioned in step 1, the Incharge of concerned regional office, will scrutinize the particulars, and forward the complete particulars to Head Office, Islamabad for construction/installation of storage of LPG for self-consumption.
2. Head Office of Department of Explosives, will scrutinize the particulars and issue approval for construction and installation of storage of LPG , alongwith approved plan.
3. On receipt of approval from Head Office, the regional office, of Department of Explosives, will issue approval letter, alongwith approved plan to applicant, for construction/ installation of storage of LPG, within six months.
4. On receipt of approval letter, the applicant, will construct the storage of LPG according to Plan approved by the Department of Explosives, and after completion, the applicant, will submit safety and completion certificate, duly signed by the engineer.
5. On receipt of safety and completion certificate, the officer of Department of Explosives, will visit the site, keeping in view the Department of Explosives, approved plan, and if found constructed as per approved plan, then a license will be issued in favour of an applicant.